## Valve,FL
Previews | Sizes | ShapeName | ScriptPath | L | D | T | H | D1 | No | Dh | PCD | OF | ContentGeometryParamDefinition | SizeRecordId_S-ALL | PortName_S-ALL | NominalDiameter_S-ALL | NominalUnit_S-ALL | MatchingPipeOd_S-ALL | EndType_S-ALL | FlangeStd_S-ALL | GasketStd_S-ALL | Facing_S-ALL | FlangeThickness_S-ALL | PressureClass_S-ALL | Schedule_S-ALL | WallThickness_S-ALL | EngagementLength_S-ALL | LengthUnit_S-ALL | ShortDescription | CompatibleStandard | DesignStd | PartFamilyLongDesc | PartSizeLongDesc | Material | MaterialCode | Weight | WeightUnit | SKEY | TYPE | PartFamilyId | CatalogPartFamilyId | PartStatus | Manufacturer | ItemCode | DesignPressureFactor | ConnectionPortCount | ComponentDesignation | PartCategory | ContentIsoSymbolDefinition | PartVersion | Status | Length | ValveAlignment | ValveDetail | ValveBodyType | FlowDependent | Offset | ValveBodyFamilyId | ValveBodyPartSizeId | ActuatorFamilyName | ActuatorFamilyId | ActuatorPartSizeId | OperatorType | ActuatorType | ActuatorHeight | ActuatorWidth | ControlValve | PnPClassName | ExcelFormatVersion_2.0
Preview | Sizes | Shape Name | Script Path | L | D | T | H | D1 | No | Dh | PCD | OF | ContentGeometryParamDefinition | SizeRecordId_S-ALL | PortName_S-ALL | NominalDiameter_S-ALL | NominalUnit_S-ALL | MatchingPipeOd_S-ALL | EndType_S-ALL | FlangeStd_S-ALL | GasketStd_S-ALL | Facing_S-ALL | FlangeThickness_S-ALL | PressureClass_S-ALL | Schedule_S-ALL | WallThickness_S-ALL | EngagementLength_S-ALL | LengthUnit_S-ALL | ShortDescription | CompatibleStandard | DesignStd | PartFamilyLongDesc | PartSizeLongDesc | Material | MaterialCode | Weight | WeightUnit | SKEY | TYPE | PartFamilyId | CatalogPartFamilyId | PartStatus | Manufacturer | ItemCode | DesignPressureFactor | ConnectionPortCount | ComponentDesignation | PartCategory | ContentIsoSymbolDefinition | PartVersion | Status | Length | ValveAlignment | ValveDetail | ValveBodyType | FlowDependent | Offset | ValveBodyFamilyId | ValveBodyPartSizeId | ActuatorFamilyName | ActuatorFamilyId | ActuatorPartSizeId | OperatorType | ActuatorType | ActuatorHeight | ActuatorWidth | ControlValve | PnPClassName | ExcelFormatVersion_2.0
| 50 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 180 | 155 | 20 | 263 | 180 | 4 | 19 | 120 | 60 | L,D,T,H,D1,No,Dh,PCD,OF | f8e39c29-592e-42ba-a439-e711d6959a7c | ALL | 50 | mm | 50 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 |  |  | 仕切弁 (外ねじ) JIS 10K フランジ形 | 50A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 65 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 190 | 170 | 22 | 296 | 200 | 4 | 19 | 140 | 60 | L,D,T,H,D1,No,Dh,PCD,OF | 12d56928-cac6-4f9b-b718-55d8c181295e | ALL | 65 | mm | 65 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 |  |  | 仕切弁 (外ねじ) JIS 10K フランジ形 | 65A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 80 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 200 | 185 | 22 | 340 | 224 | 8 | 19 | 150 | 60 | L,D,T,H,D1,No,Dh,PCD,OF | 355e4bdf-3bcd-4285-9e5d-064e9af6d5bc | ALL | 80 | mm | 80 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 | 仕切弁 (外ねじ) JIS 10K フランジ形 |  |  | 80A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 90 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | [9 empty] | L,D,T,H,D1,No,Dh,PCD,OF | a9f346bb-2f3a-4102-8b2e-3f25c40950b6 | ALL | 90 | mm | 90 | FL |  |  | FF |  |  |  | 0 | 0 | mm | Valve | [10 empty] | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
Show details | 100 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 230 | 210 | 24 | 400 | 250 | 8 | 19 | 175 | 80 | L,D,T,H,D1,No,Dh,PCD,OF | b109efdd-9102-4c87-be9e-4cbe8c7bd4d3 | ALL | 100 | mm | 100 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 | 仕切弁 (外ねじ) JIS 10K フランジ形 |  |  | 100A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 125 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 250 | 250 | 24 | 473 | 280 | 8 | 23 | 210 | 80 | L,D,T,H,D1,No,Dh,PCD,OF | 8469818e-f0ee-4380-b283-5dd701aa9097 | ALL | 125 | mm | 125 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 | 仕切弁 (外ねじ) JIS 10K フランジ形 |  |  | 125A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 150 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 280 | 240 | 26 | 558 | 300 | 8 | 23 | 240 | 80 | L,D,T,H,D1,No,Dh,PCD,OF | a9ae6c41-916f-410d-b790-505edfd50ab3 | ALL | 150 | mm | 150 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 | 仕切弁 (外ねじ) JIS 10K フランジ形 |  |  | 150A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 175 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | [9 empty] | L,D,T,H,D1,No,Dh,PCD,OF | e6207a2a-1981-46ab-8894-b647b4eee602 | ALL | 175 | mm | 175 | FL |  |  | FF |  |  |  | 0 | 0 | mm | Valve | [10 empty] | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 200 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | 330 | 290 | 26 | 703 | 355 | 12 | 23 | 290 | 80 | L,D,T,H,D1,No,Dh,PCD,OF | 51e8a649-e869-4c6d-8ffa-8452e6c9c3b2 | ALL | 200 | mm | 200 | FL |  |  | FF |  |  | 10K | 0 | 0 | mm | 仕切弁 10K フランジ形 | 仕切弁 (外ねじ) JIS 10K フランジ形 |  |  | 200A 仕切弁 (外ねじ) JIS 7.5K フランジ形 | FC200 | JIS-FC200 |  |  | VTFL | VALVE | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 225 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | [9 empty] | L,D,T,H,D1,No,Dh,PCD,OF | b90f00e6-43df-4864-8312-c53dcedaeb47 | ALL | 225 | mm | 225 | FL |  |  | FF |  |  |  | 0 | 0 | mm | Valve | [10 empty] | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
| 250 | GateValve10K | C:\AutoCAD Plant 3D 2026 Content\CPak Common\CustomScripts\__pycache__\GATEVALVE10K.cpython-311.pyc | [9 empty] | L,D,T,H,D1,No,Dh,PCD,OF | 758aeaee-438b-4270-b1a0-4c6a19dee44c | ALL | 250 | mm | 273.1 | FL |  |  | FF |  |  |  | 0 | 0 | mm | Valve | [10 empty] | 8930f3e8-41d3-4f6d-8125-d0ded0391e3d | [5 empty] | 2 |  | Valves | [19 empty] | Valve
Note on A1: For internal use only. Do not edit or remove this row
Note on O2: SizeRecordId
Note on P2: PortName
Note on Q2: NominalDiameter
Note on R2: NominalUnit
Note on S2: MatchingPipeOd
Note on T2: EndType
Note on U2: FlangeStd
Note on V2: GasketStd
Note on W2: Facing
Note on X2: FlangeThickness
Note on Y2: PressureClass
Note on Z2: Schedule
Note on AA2: WallThickness
Note on AB2: EngagementLength
Note on AC2: LengthUnit
Note on AD2: ShortDescription
Note on AE2: CompatibleStandard
Note on AF2: DesignStd
Note on AG2: PartFamilyLongDesc
Note on AH2: PartSizeLongDesc
Note on AI2: Material
Note on AJ2: MaterialCode
Note on AK2: Weight
Note on AL2: WeightUnit
Note on AO2: PartFamilyId
Note on AP2: CatalogPartFamilyId
Note on AQ2: PartStatus
Note on AR2: Manufacturer
Note on AS2: ItemCode
Note on AT2: DesignPressureFactor
Note on AU2: ConnectionPortCount
Note on AV2: ComponentDesignation
Note on AW2: PartCategory
Note on AX2: ContentIsoSymbolDefinition
Note on AY2: PartVersion
Note on AZ2: Status
Note on BA2: Length
Note on BB2: ValveAlignment
Note on BC2: ValveDetail
Note on BD2: ValveBodyType
Note on BE2: FlowDependent
Note on BF2: Offset
Note on BG2: ValveBodyFamilyId
Note on BH2: ValveBodyPartSizeId
Note on BI2: ActuatorFamilyName
Note on BJ2: ActuatorFamilyId
Note on BK2: ActuatorPartSizeId
Note on BL2: OperatorType
Note on BM2: ActuatorType
Note on BN2: ActuatorHeight
Note on BO2: ActuatorWidth
Note on BP2: ControlValve